## Total Energy
ECM Name | Results Scenario | Climate Zones | Building Classes | End Uses | IRR (%),2050 | Payback (years),2050 | CCE ($/MMBtu saved),2050 | CCC ($/tCO2 avoided),2050 | 2025 (TWh) | 2026 (TWh) | 2027 (TWh) | 2028 (TWh) | 2029 (TWh) | 2030 (TWh) | 2031 (TWh) | 2032 (TWh) | 2033 (TWh) | 2034 (TWh) | 2035 (TWh) | 2036 (TWh) | 2037 (TWh) | 2038 (TWh) | 2039 (TWh) | 2040 (TWh) | 2041 (TWh) | 2042 (TWh) | 2043 (TWh) | 2044 (TWh) | 2045 (TWh) | 2046 (TWh) | 2047 (TWh) | 2048 (TWh) | 2049 (TWh) | 2050 (TWh)
All ECMs | Baseline competed | [7 empty] | 220.8838 | 231.4757 | 240.6818 | 248.9456 | 255.9892 | 262.2319 | 268.1901 | 273.8225 | 278.7111 | 283.1616 | 287.2781 | 291.3468 | 295.0884 | 298.2312 | 301.2857 | 304.3337 | 307.3603 | 310.4408 | 313.5644 | 316.8063 | 319.8547 | 322.3177 | 325.0049 | 327.8294 | 330.45 | 332.9288
All ECMs | Efficient competed | [7 empty] | 14.4705 | 27.9808 | 41.1571 | 53.9953 | 66.3241 | 77.9873 | 89.1762 | 100.1236 | 110.5542 | 120.5264 | 130.1774 | 139.6871 | 148.8407 | 157.5503 | 166.0014 | 174.5075 | 182.9798 | 191.4162 | 199.6637 | 207.8703 | 216.0552 | 223.8661 | 231.7344 | 239.5079 | 246.9538 | 254.4079
All ECMs | Baseline competed - efficient competed | All | All | All |  |  |  |  | 206.4133 | 203.4949 | 199.5247 | 194.9502 | 189.665 | 184.2445 | 179.0139 | 173.6989 | 168.1569 | 162.6352 | 157.1008 | 151.6597 | 146.2476 | 140.6809 | 135.2842 | 129.8262 | 124.3805 | 119.0246 | 113.9007 | 108.9361 | 103.7995 | 98.4516 | 93.2705 | 88.3216 | 83.4962 | 78.5209
All ECMs | Baseline competed - efficient competed | Northwest | All | All |  |  |  |  | 6.9104 | 6.717 | 6.4887 | 6.2464 | 6.0037 | 5.7691 | 5.5519 | 5.3415 | 5.1262 | 4.9168 | 4.7104 | 4.5129 | 4.3213 | 4.1282 | 3.9466 | 3.7646 | 3.5881 | 3.4162 | 3.2545 | 3.1023 | 2.9459 | 2.7166 | 2.5211 | 2.3662 | 2.2349 | 2.1036
All ECMs | Baseline competed - efficient competed | Great Basin | All | All |  |  |  |  | 3.8422 | 3.7635 | 3.6656 | 3.5505 | 3.4219 | 3.287 | 3.1526 | 3.0155 | 2.8721 | 2.7277 | 2.5837 | 2.443 | 2.3054 | 2.1657 | 2.0306 | 1.8916 | 1.7506 | 1.6088 | 1.4705 | 1.3334 | 1.1947 | 1.0581 | 0.92137 | 0.78402 | 0.64753 | 0.51074
All ECMs | Baseline competed - efficient competed | California | All | All |  |  |  |  | 14.3246 | 14.2289 | 14.0378 | 13.8005 | 13.552 | 13.3067 | 13.083 | 12.865 | 12.6191 | 12.3748 | 12.1188 | 11.8717 | 11.6246 | 11.3596 | 11.1069 | 10.8568 | 10.6204 | 10.386 | 10.1562 | 9.9381 | 9.7054 | 9.2834 | 8.9412 | 8.6907 | 8.4885 | 8.2841
All ECMs | Baseline competed - efficient competed | Rocky Mountains | All | All |  |  |  |  | 2.9069 | 2.8044 | 2.6893 | 2.5639 | 2.4312 | 2.2971 | 2.1673 | 2.0383 | 1.9045 | 1.7733 | 1.643 | 1.5152 | 1.3886 | 1.2604 | 1.1357 | 1.0094 | 0.8831 | 0.75873 | 0.63719 | 0.5171 | 0.39697 | 0.27822 | 0.16001 | 0.042991 | -0.073026 | -0.18783
All ECMs | Baseline competed - efficient competed | Upper Midwest | All | All |  |  |  |  | 26.2876 | 26.0506 | 25.6686 | 25.1803 | 24.5986 | 23.9828 | 23.3955 | 22.8099 | 22.1926 | 21.5731 | 20.9539 | 20.3554 | 19.7585 | 19.1427 | 18.5488 | 17.9465 | 17.3433 | 16.7615 | 16.2069 | 15.6705 | 15.1297 | 14.5877 | 14.0517 | 13.5281 | 13.0075 | 12.4851
All ECMs | Baseline competed - efficient competed | Lower Midwest | All | All |  |  |  |  | 9.9382 | 9.683 | 9.3754 | 9.034 | 8.6652 | 8.2938 | 7.9295 | 7.561 | 7.1799 | 6.8027 | 6.432 | 6.0682 | 5.7127 | 5.3504 | 4.9995 | 4.6433 | 4.2849 | 3.934 | 3.5976 | 3.2628 | 2.9175 | 2.5708 | 2.2186 | 1.8732 | 1.5414 | 1.1991
All ECMs | Baseline competed - efficient competed | Lakes/Mid-Atl. | All | All |  |  |  |  | 59.4388 | 59.0778 | 58.4082 | 57.5571 | 56.4107 | 55.1835 | 54.0023 | 52.7977 | 51.5102 | 50.2183 | 48.9137 | 47.6325 | 46.3311 | 44.9564 | 43.6287 | 42.2971 | 40.9772 | 39.6976 | 38.485 | 37.3396 | 36.1404 | 34.9601 | 33.8275 | 32.7358 | 31.634 | 30.4823
All ECMs | Baseline competed - efficient competed | Texas | All | All |  |  |  |  | 13.275 | 13.0217 | 12.6868 | 12.3036 | 11.8722 | 11.4333 | 10.9907 | 10.532 | 10.0512 | 9.5729 | 9.1033 | 8.6389 | 8.1857 | 7.7139 | 7.2527 | 6.7863 | 6.322 | 5.8732 | 5.4528 | 5.025 | 4.5704 | 4.1036 | 3.617 | 3.1415 | 2.6982 | 2.2328
All ECMs | Baseline competed - efficient competed | Southwest | All | All |  |  |  |  | 1.9682 | 1.9093 | 1.838 | 1.7537 | 1.6591 | 1.5593 | 1.4551 | 1.3448 | 1.2328 | 1.1164 | 1.0003 | 0.88507 | 0.7757 | 0.66717 | 0.56164 | 0.45154 | 0.3361 | 0.21551 | 0.096132 | -0.026132 | -0.15131 | -0.2748 | -0.40018 | -0.52844 | -0.65469 | -0.78301
All ECMs | Baseline competed - efficient competed | Southeast | All | All |  |  |  |  | 37.343 | 36.2499 | 34.9674 | 33.5864 | 32.1868 | 30.8181 | 29.517 | 28.186 | 26.8561 | 25.5371 | 24.2178 | 22.9065 | 21.6353 | 20.3877 | 19.1722 | 17.9185 | 16.6473 | 15.3618 | 14.1255 | 12.8991 | 11.6626 | 10.453 | 9.238 | 8.0154 | 6.8191 | 5.5978
All ECMs | Baseline competed - efficient competed | Northeast | All | All |  |  |  |  | 30.1784 | 29.9888 | 29.6988 | 29.3737 | 28.8636 | 28.3138 | 27.769 | 27.2072 | 26.6121 | 26.0222 | 25.4238 | 24.8304 | 24.2087 | 23.5486 | 22.901 | 22.2606 | 21.6274 | 21.0111 | 20.4182 | 19.8743 | 19.2872 | 18.7149 | 18.1743 | 17.672 | 17.1529 | 16.5964
All ECMs | Baseline competed - efficient competed | All | Residential (New) | All |  |  |  |  | -5.1848 | -10.2176 | -15.1228 | -19.897 | -24.4777 | -28.808 | -32.9564 | -37.0042 | -40.8607 | -44.54 | -48.0966 | -51.5951 | -54.9573 | -58.1521 | -61.2477 | -64.3594 | -67.4561 | -70.5358 | -73.544 | -76.5321 | -79.4992 | -82.3188 | -85.1511 | -87.9459 | -90.6251 | -93.2958
All ECMs | Baseline competed - efficient competed | All | Residential (Existing) | All |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
All ECMs | Baseline competed - efficient competed | All | Commercial (New) | All |  |  |  |  | 4.4398 | 8.7159 | 12.8513 | 17.0901 | 21.3739 | 25.6509 | 29.8901 | 33.9346 | 37.6653 | 41.1289 | 44.3326 | 47.3327 | 50.1283 | 52.6714 | 55.0733 | 57.3244 | 59.4539 | 61.5028 | 63.5184 | 65.509 | 67.3685 | 69.0199 | 70.6696 | 72.3304 | 73.9327 | 75.4008
All ECMs | Baseline competed - efficient competed | All | Commercial (Existing) | All |  |  |  |  | 207.1583 | 204.9966 | 201.7962 | 197.7571 | 192.7689 | 187.4016 | 182.0802 | 176.7685 | 171.3523 | 166.0464 | 160.8648 | 155.9221 | 151.0767 | 146.1616 | 141.4586 | 136.8612 | 132.3828 | 128.0576 | 123.9262 | 119.9592 | 115.9302 | 111.7505 | 107.752 | 103.9371 | 100.1886 | 96.4159
All ECMs | Baseline competed - efficient competed | All | All | Heating (Equip.) |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
All ECMs | Baseline competed - efficient competed | All | All | Cooling (Equip.) |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
All ECMs | Baseline competed - efficient competed | All | All | Heating (Env.) |  |  |  |  | 232.3362 | 230.3745 | 227.3271 | 223.6529 | 219.2743 | 214.7386 | 210.5005 | 206.2836 | 201.6773 | 197.1595 | 192.6076 | 188.1693 | 183.682 | 178.9527 | 174.3795 | 169.7997 | 165.303 | 161.0105 | 156.9346 | 153.0814 | 149.1312 | 144.9427 | 141.0133 | 137.3509 | 133.767 | 130.1186
All ECMs | Baseline competed - efficient competed | All | All | Cooling (Env.) |  |  |  |  | -25.9228 | -26.8797 | -27.8024 | -28.7027 | -29.6093 | -30.4941 | -31.4865 | -32.5847 | -33.5204 | -34.5243 | -35.5068 | -36.5096 | -37.4344 | -38.2717 | -39.0953 | -39.9735 | -40.9225 | -41.9859 | -43.0339 | -44.1454 | -45.3317 | -46.4911 | -47.7428 | -49.0294 | -50.2708 | -51.5977
All ECMs | Baseline competed - efficient competed | All | All | Ventilation |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
All ECMs | Baseline competed - efficient competed | All | All | Lighting |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
All ECMs | Baseline competed - efficient competed | All | All | Water Heating |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
All ECMs | Baseline competed - efficient competed | All | All | Refrigeration |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
All ECMs | Baseline competed - efficient competed | All | All | Cooking |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
All ECMs | Baseline competed - efficient competed | All | All | Computers and Electronics |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
All ECMs | Baseline competed - efficient competed | All | All | Other |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Best Com. Air Sealing (Exist) | Baseline uncompeted | Northwest, Great Basin, California, Rocky Mountains, Upper Midwest, Lower Midwest, Lakes/Mid-Atl., Texas, Southwest, Southeast, Northeast | Commercial (New), Commercial (Existing) | Heating (Env.), Cooling (Env.) | 0.2649 | 87.7485 | 73.9168 | 1347.727 | 207.7122 | 205.5447 | 202.3358 | 198.2858 | 193.2843 | 187.9026 | 182.567 | 177.2411 | 171.8104 | 166.4903 | 161.295 | 156.339 | 151.4807 | 146.5524 | 141.8369 | 137.2272 | 132.7367 | 128.4 | 124.2576 | 120.2799 | 116.2401 | 112.0493 | 108.0401 | 104.215 | 100.4565 | 96.6737
Best Com. Air Sealing (Exist) | Efficient uncompeted | Northwest, Great Basin, California, Rocky Mountains, Upper Midwest, Lower Midwest, Lakes/Mid-Atl., Texas, Southwest, Southeast, Northeast | Commercial (New), Commercial (Existing) | Heating (Env.), Cooling (Env.) | 0.2649 | 87.7485 | 73.9168 | 1347.727 | 0.5539 | 0.54812 | 0.53956 | 0.52876 | 0.51542 | 0.50107 | 0.48685 | 0.47264 | 0.45816 | 0.44397 | 0.43012 | 0.4169 | 0.40395 | 0.39081 | 0.37823 | 0.36594 | 0.35396 | 0.3424 | 0.33135 | 0.32075 | 0.30997 | 0.2988 | 0.28811 | 0.27791 | 0.26788 | 0.2578
Best Com. Air Sealing (Exist) | Baseline competed | Northwest, Great Basin, California, Rocky Mountains, Upper Midwest, Lower Midwest, Lakes/Mid-Atl., Texas, Southwest, Southeast, Northeast | Commercial (New), Commercial (Existing) | Heating (Env.), Cooling (Env.) | 0.2649 | 87.7485 | 73.9168 | 1347.727 | 207.7122 | 205.5447 | 202.3358 | 198.2858 | 193.2843 | 187.9026 | 182.567 | 177.2411 | 171.8104 | 166.4903 | 161.295 | 156.339 | 151.4807 | 146.5524 | 141.8369 | 137.2272 | 132.7367 | 128.4 | 124.2576 | 120.2799 | 116.2401 | 112.0493 | 108.0401 | 104.215 | 100.4565 | 96.6737
Best Com. Air Sealing (Exist) | Efficient competed | Northwest, Great Basin, California, Rocky Mountains, Upper Midwest, Lower Midwest, Lakes/Mid-Atl., Texas, Southwest, Southeast, Northeast | Commercial (New), Commercial (Existing) | Heating (Env.), Cooling (Env.) | 0.2649 | 87.7485 | 73.9168 | 1347.727 | 0.5539 | 0.54812 | 0.53956 | 0.52876 | 0.51542 | 0.50107 | 0.48685 | 0.47264 | 0.45816 | 0.44397 | 0.43012 | 0.4169 | 0.40395 | 0.39081 | 0.37823 | 0.36594 | 0.35396 | 0.3424 | 0.33135 | 0.32075 | 0.30997 | 0.2988 | 0.28811 | 0.27791 | 0.26788 | 0.2578
Best Com. Air Sealing (New) | Baseline uncompeted | Northwest, Great Basin, California, Rocky Mountains, Upper Midwest, Lower Midwest, Lakes/Mid-Atl., Texas, Southwest, Southeast, Northeast | Commercial (New), Commercial (Existing) | Heating (Env.), Cooling (Env.) | 20.5893 | 4.8569 | 4.0837 | 74.9998 | 4.515 | 8.8636 | 13.0692 | 17.3798 | 21.7362 | 26.0857 | 30.3967 | 34.5097 | 38.3037 | 41.826 | 45.084 | 48.1349 | 50.9779 | 53.5642 | 56.0068 | 58.296 | 60.4616 | 62.5452 | 64.595 | 66.6193 | 68.5103 | 70.1897 | 71.8674 | 73.5563 | 75.1858 | 76.6788
Best Com. Air Sealing (New) | Efficient uncompeted | Northwest, Great Basin, California, Rocky Mountains, Upper Midwest, Lower Midwest, Lakes/Mid-Atl., Texas, Southwest, Southeast, Northeast | Commercial (New), Commercial (Existing) | Heating (Env.), Cooling (Env.) | 20.5893 | 4.8569 | 4.0837 | 74.9998 | 0.075251 | 0.14773 | 0.21782 | 0.28966 | 0.36227 | 0.43476 | 0.50661 | 0.57516 | 0.63839 | 0.6971 | 0.7514 | 0.80225 | 0.84963 | 0.89274 | 0.93345 | 0.9716 | 1.0077 | 1.0424 | 1.0766 | 1.1103 | 1.1418 | 1.1698 | 1.1978 | 1.2259 | 1.2531 | 1.278
Best Com. Air Sealing (New) | Baseline competed | Northwest, Great Basin, California, Rocky Mountains, Upper Midwest, Lower Midwest, Lakes/Mid-Atl., Texas, Southwest, Southeast, Northeast | Commercial (New), Commercial (Existing) | Heating (Env.), Cooling (Env.) | 20.5893 | 4.8569 | 4.0837 | 74.9998 | 4.515 | 8.8636 | 13.0692 | 17.3798 | 21.7362 | 26.0857 | 30.3967 | 34.5097 | 38.3037 | 41.826 | 45.084 | 48.1349 | 50.9779 | 53.5642 | 56.0068 | 58.296 | 60.4616 | 62.5452 | 64.595 | 66.6193 | 68.5103 | 70.1897 | 71.8674 | 73.5563 | 75.1858 | 76.6788
Best Com. Air Sealing (New) | Efficient competed | Northwest, Great Basin, California, Rocky Mountains, Upper Midwest, Lower Midwest, Lakes/Mid-Atl., Texas, Southwest, Southeast, Northeast | Commercial (New), Commercial (Existing) | Heating (Env.), Cooling (Env.) | 20.5893 | 4.8569 | 4.0837 | 74.9998 | 0.075251 | 0.14773 | 0.21782 | 0.28966 | 0.36227 | 0.43476 | 0.50661 | 0.57516 | 0.63839 | 0.6971 | 0.7514 | 0.80225 | 0.84963 | 0.89274 | 0.93345 | 0.9716 | 1.0077 | 1.0424 | 1.0766 | 1.1103 | 1.1418 | 1.1698 | 1.1978 | 1.2259 | 1.2531 | 1.278
Res. Air Sealing (New), IECC c. 2021 | Baseline uncompeted | Northwest, Great Basin, California, Rocky Mountains, Upper Midwest, Lower Midwest, Lakes/Mid-Atl., Texas, Southwest, Southeast, Northeast | Residential (New), Residential (Existing) | Heating (Env.), Cooling (Env.) | 999 | 0 | 999 | 999 | 8.6566 | 17.0673 | 25.2769 | 33.2799 | 40.9687 | 48.2435 | 55.2264 | 62.0716 | 68.597 | 74.8453 | 80.8992 | 86.8728 | 92.6298 | 98.1146 | 103.442 | 108.8106 | 114.162 | 119.4957 | 124.7117 | 129.9071 | 135.1042 | 140.0787 | 145.0974 | 150.0581 | 154.8077 | 159.5764
Res. Air Sealing (New), IECC c. 2021 | Efficient uncompeted | Northwest, Great Basin, California, Rocky Mountains, Upper Midwest, Lower Midwest, Lakes/Mid-Atl., Texas, Southwest, Southeast, Northeast | Residential (New), Residential (Existing) | Heating (Env.), Cooling (Env.) | 999 | 0 | 999 | 999 | 13.8413 | 27.2849 | 40.3997 | 53.1769 | 65.4464 | 77.0515 | 88.1828 | 99.0758 | 109.4576 | 119.3853 | 128.9959 | 138.4679 | 147.5872 | 156.2667 | 164.6897 | 173.17 | 181.6181 | 190.0314 | 198.2558 | 206.4392 | 214.6034 | 222.3975 | 230.2485 | 238.004 | 245.4328 | 252.8721
Res. Air Sealing (New), IECC c. 2021 | Baseline competed | Northwest, Great Basin, California, Rocky Mountains, Upper Midwest, Lower Midwest, Lakes/Mid-Atl., Texas, Southwest, Southeast, Northeast | Residential (New), Residential (Existing) | Heating (Env.), Cooling (Env.) | 999 | 0 | 999 | 999 | 8.6566 | 17.0673 | 25.2769 | 33.2799 | 40.9687 | 48.2435 | 55.2264 | 62.0716 | 68.597 | 74.8453 | 80.8992 | 86.8728 | 92.6298 | 98.1146 | 103.442 | 108.8106 | 114.162 | 119.4957 | 124.7117 | 129.9071 | 135.1042 | 140.0787 | 145.0974 | 150.0581 | 154.8077 | 159.5764
Res. Air Sealing (New), IECC c. 2021 | Efficient competed | Northwest, Great Basin, California, Rocky Mountains, Upper Midwest, Lower Midwest, Lakes/Mid-Atl., Texas, Southwest, Southeast, Northeast | Residential (New), Residential (Existing) | Heating (Env.), Cooling (Env.) | 999 | 0 | 999 | 999 | 13.8413 | 27.2849 | 40.3997 | 53.1769 | 65.4464 | 77.0515 | 88.1828 | 99.0758 | 109.4576 | 119.3853 | 128.9959 | 138.4679 | 147.5872 | 156.2667 | 164.6897 | 173.17 | 181.6181 | 190.0314 | 198.2558 | 206.4392 | 214.6034 | 222.3975 | 230.2485 | 238.004 | 245.4328 | 252.8721

## Total CO2
ECM Name | Results Scenario | Climate Zones | Building Classes | End Uses | IRR (%),2050 | Payback (years),2050 | CCE ($/MMBtu saved),2050 | CCC ($/tCO2 avoided),2050 | 2025 (Mt) | 2026 (Mt) | 2027 (Mt) | 2028 (Mt) | 2029 (Mt) | 2030 (Mt) | 2031 (Mt) | 2032 (Mt) | 2033 (Mt) | 2034 (Mt) | 2035 (Mt) | 2036 (Mt) | 2037 (Mt) | 2038 (Mt) | 2039 (Mt) | 2040 (Mt) | 2041 (Mt) | 2042 (Mt) | 2043 (Mt) | 2044 (Mt) | 2045 (Mt) | 2046 (Mt) | 2047 (Mt) | 2048 (Mt) | 2049 (Mt) | 2050 (Mt)
All ECMs | Baseline competed | [7 empty] | 40.0387 | 41.5673 | 42.7354 | 43.6807 | 44.4083 | 45.0565 | 45.7013 | 46.3188 | 46.8835 | 47.3061 | 47.7156 | 48.128 | 48.4567 | 48.7119 | 48.995 | 49.2469 | 49.5232 | 49.7883 | 50.0413 | 50.2729 | 50.4918 | 50.5913 | 50.7419 | 50.9056 | 51.0771 | 51.1888
All ECMs | Efficient competed | [7 empty] | 2.283 | 4.2273 | 5.9533 | 7.548 | 9.0453 | 10.4449 | 11.7915 | 13.1081 | 14.4299 | 15.6106 | 16.7951 | 17.9419 | 19.0064 | 20.0455 | 21.0784 | 22.0867 | 23.1327 | 24.1321 | 25.0757 | 25.9085 | 26.8027 | 27.6093 | 28.4175 | 29.1987 | 29.9894 | 30.7228
All ECMs | Baseline competed - efficient competed | All | All | All |  |  |  |  | 37.7557 | 37.3401 | 36.7821 | 36.1327 | 35.363 | 34.6115 | 33.9098 | 33.2107 | 32.4536 | 31.6955 | 30.9205 | 30.186 | 29.4503 | 28.6664 | 27.9166 | 27.1602 | 26.3905 | 25.6561 | 24.9656 | 24.3644 | 23.6891 | 22.9819 | 22.3245 | 21.7069 | 21.0877 | 20.466
All ECMs | Baseline competed - efficient competed | Northwest | All | All |  |  |  |  | 1.1081 | 1.086 | 1.0627 | 1.0377 | 1.0108 | 0.98487 | 0.96036 | 0.93628 | 0.91059 | 0.88514 | 0.85969 | 0.8354 | 0.81195 | 0.78783 | 0.76494 | 0.74153 | 0.71776 | 0.69527 | 0.67311 | 0.65262 | 0.63034 | 0.59579 | 0.5655 | 0.54094 | 0.52224 | 0.50428
All ECMs | Baseline competed - efficient competed | Great Basin | All | All |  |  |  |  | 0.69434 | 0.67957 | 0.66212 | 0.64241 | 0.62333 | 0.60314 | 0.58395 | 0.56286 | 0.54294 | 0.51889 | 0.49494 | 0.47512 | 0.46106 | 0.45484 | 0.43859 | 0.42245 | 0.4027 | 0.38287 | 0.36395 | 0.34501 | 0.32786 | 0.31214 | 0.29259 | 0.27377 | 0.25661 | 0.23854
All ECMs | Baseline competed - efficient competed | California | All | All |  |  |  |  | 2.2258 | 2.215 | 2.1796 | 2.141 | 2.0986 | 2.0503 | 2.005 | 1.9598 | 1.9193 | 1.8771 | 1.8325 | 1.7916 | 1.7505 | 1.7087 | 1.6684 | 1.6268 | 1.5843 | 1.5443 | 1.5031 | 1.4651 | 1.4247 | 1.3482 | 1.2897 | 1.2467 | 1.2124 | 1.1788
All ECMs | Baseline competed - efficient competed | Rocky Mountains | All | All |  |  |  |  | 0.5322 | 0.50289 | 0.46722 | 0.43261 | 0.41114 | 0.38736 | 0.36761 | 0.34809 | 0.32781 | 0.30731 | 0.28702 | 0.26731 | 0.24791 | 0.2278 | 0.20853 | 0.18855 | 0.16878 | 0.14945 | 0.13054 | 0.11229 | 0.093976 | 0.075034 | 0.056488 | 0.038227 | 0.020209 | 0.002864
All ECMs | Baseline competed - efficient competed | Upper Midwest | All | All |  |  |  |  | 4.7176 | 4.6424 | 4.5533 | 4.437 | 4.3227 | 4.2292 | 4.1424 | 4.0557 | 3.9645 | 3.8703 | 3.7755 | 3.681 | 3.588 | 3.4861 | 3.4 | 3.3106 | 3.2171 | 3.129 | 3.0479 | 2.9687 | 2.8975 | 2.8233 | 2.7437 | 2.6695 | 2.5968 | 2.5324
All ECMs | Baseline competed - efficient competed | Lower Midwest | All | All |  |  |  |  | 1.7739 | 1.7316 | 1.6892 | 1.6475 | 1.6079 | 1.5718 | 1.5361 | 1.4972 | 1.4547 | 1.4141 | 1.3726 | 1.3291 | 1.2847 | 1.2457 | 1.2112 | 1.1708 | 1.1309 | 1.0917 | 1.0576 | 1.0185 | 0.97911 | 0.94303 | 0.90969 | 0.87305 | 0.83457 | 0.78388
All ECMs | Baseline competed - efficient competed | Lakes/Mid-Atl. | All | All |  |  |  |  | 10.8962 | 10.8281 | 10.7068 | 10.5568 | 10.3551 | 10.1356 | 9.9354 | 9.7364 | 9.5197 | 9.3061 | 9.095 | 8.8859 | 8.6719 | 8.4418 | 8.2217 | 7.9993 | 7.7783 | 7.5685 | 7.3713 | 7.1875 | 6.9998 | 6.8132 | 6.6388 | 6.4835 | 6.3101 | 6.1426
All ECMs | Baseline competed - efficient competed | Texas | All | All |  |  |  |  | 2.4026 | 2.3864 | 2.3603 | 2.3306 | 2.29 | 2.247 | 2.2052 | 2.1639 | 2.1093 | 2.0532 | 2.0006 | 1.9548 | 1.9296 | 1.8772 | 1.8289 | 1.7811 | 1.7246 | 1.678 | 1.6387 | 1.5969 | 1.554 | 1.5166 | 1.4685 | 1.4314 | 1.3923 | 1.3493
All ECMs | Baseline competed - efficient competed | Southwest | All | All |  |  |  |  | 0.38971 | 0.38888 | 0.40228 | 0.40943 | 0.4047 | 0.39394 | 0.38885 | 0.38332 | 0.38108 | 0.3698 | 0.35785 | 0.34787 | 0.33684 | 0.32494 | 0.31529 | 0.30175 | 0.28883 | 0.27755 | 0.26323 | 0.25262 | 0.24108 | 0.21735 | 0.20665 | 0.19633 | 0.17652 | 0.16628
All ECMs | Baseline competed - efficient competed | Southeast | All | All |  |  |  |  | 6.9287 | 6.8204 | 6.6856 | 6.5345 | 6.365 | 6.2334 | 6.1089 | 5.9928 | 5.856 | 5.7323 | 5.5924 | 5.4672 | 5.3301 | 5.1933 | 5.0581 | 4.9319 | 4.8074 | 4.6801 | 4.5618 | 4.5056 | 4.3825 | 4.277 | 4.1856 | 4.0719 | 3.9734 | 3.8725
All ECMs | Baseline competed - efficient competed | Northeast | All | All |  |  |  |  | 6.0866 | 6.0589 | 6.0129 | 5.9631 | 5.8736 | 5.775 | 5.6761 | 5.5744 | 5.4677 | 5.3612 | 5.2526 | 5.1508 | 5.0378 | 4.9182 | 4.801 | 4.6853 | 4.5698 | 4.4595 | 4.3545 | 4.2596 | 4.1582 | 4.0603 | 3.9673 | 3.8816 | 3.7925 | 3.6946
All ECMs | Baseline competed - efficient competed | All | Residential (New) | All |  |  |  |  | -0.82292 | -1.5601 | -2.2174 | -2.8243 | -3.3918 | -3.9246 | -4.4383 | -4.9428 | -5.4439 | -5.8887 | -6.3348 | -6.7698 | -7.181 | -7.5741 | -7.9627 | -8.3432 | -8.7358 | -9.1133 | -9.4708 | -9.7895 | -10.1233 | -10.4234 | -10.7241 | -11.0168 | -11.314 | -11.586
All ECMs | Baseline competed - efficient competed | All | Residential (Existing) | All |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
All ECMs | Baseline competed - efficient competed | All | Commercial (New) | All |  |  |  |  | 0.80662 | 1.5805 | 2.3255 | 3.0856 | 3.8509 | 4.6189 | 5.3835 | 6.1179 | 6.7997 | 7.429 | 8.0139 | 8.5686 | 9.0868 | 9.5588 | 10.0112 | 10.436 | 10.8401 | 11.2333 | 11.6202 | 12.0139 | 12.3758 | 12.7014 | 13.0359 | 13.3727 | 13.7018 | 14.0087
All ECMs | Baseline competed - efficient competed | All | Commercial (Existing) | All |  |  |  |  | 37.772 | 37.3197 | 36.674 | 35.8715 | 34.9039 | 33.9173 | 32.9646 | 32.0357 | 31.0977 | 30.1552 | 29.2413 | 28.3873 | 27.5444 | 26.6816 | 25.868 | 25.0674 | 24.2863 | 23.5361 | 22.8162 | 22.1401 | 21.4365 | 20.7039 | 20.0127 | 19.351 | 18.7 | 18.0434
All ECMs | Baseline competed - efficient competed | All | All | Heating (Equip.) |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
All ECMs | Baseline competed - efficient competed | All | All | Cooling (Equip.) |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
All ECMs | Baseline competed - efficient competed | All | All | Heating (Env.) |  |  |  |  | 40.6627 | 40.04 | 39.258 | 38.4471 | 37.5994 | 36.7863 | 36.076 | 35.38 | 34.6622 | 33.9182 | 33.1909 | 32.4855 | 31.7874 | 31.0542 | 30.3462 | 29.6366 | 28.9332 | 28.2575 | 27.6102 | 26.9996 | 26.369 | 25.6923 | 25.0685 | 24.4876 | 23.9263 | 23.3495
All ECMs | Baseline competed - efficient competed | All | All | Cooling (Env.) |  |  |  |  | -2.907 | -2.6999 | -2.4759 | -2.3144 | -2.2364 | -2.1747 | -2.1662 | -2.1693 | -2.2086 | -2.2228 | -2.2705 | -2.2994 | -2.3371 | -2.3878 | -2.4297 | -2.4764 | -2.5428 | -2.6014 | -2.6445 | -2.6352 | -2.68 | -2.7103 | -2.7441 | -2.7807 | -2.8386 | -2.8835
All ECMs | Baseline competed - efficient competed | All | All | Ventilation |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
All ECMs | Baseline competed - efficient competed | All | All | Lighting |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
All ECMs | Baseline competed - efficient competed | All | All | Water Heating |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
All ECMs | Baseline competed - efficient competed | All | All | Refrigeration |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
All ECMs | Baseline competed - efficient competed | All | All | Cooking |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
All ECMs | Baseline competed - efficient competed | All | All | Computers and Electronics |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
All ECMs | Baseline competed - efficient competed | All | All | Other |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Best Com. Air Sealing (Exist) | Baseline uncompeted | Northwest, Great Basin, California, Rocky Mountains, Upper Midwest, Lower Midwest, Lakes/Mid-Atl., Texas, Southwest, Southeast, Northeast | Commercial (New), Commercial (Existing) | Heating (Env.), Cooling (Env.) | 0.2649 | 87.7485 | 73.9168 | 1347.727 | 37.873 | 37.4195 | 36.7721 | 35.9674 | 34.9972 | 34.008 | 33.0527 | 32.1213 | 31.1809 | 30.2358 | 29.3195 | 28.4632 | 27.6181 | 26.753 | 25.9372 | 25.1345 | 24.3512 | 23.599 | 22.8772 | 22.1993 | 21.4938 | 20.7592 | 20.0662 | 19.4027 | 18.7499 | 18.0916
Best Com. Air Sealing (Exist) | Efficient uncompeted | Northwest, Great Basin, California, Rocky Mountains, Upper Midwest, Lower Midwest, Lakes/Mid-Atl., Texas, Southwest, Southeast, Northeast | Commercial (New), Commercial (Existing) | Heating (Env.), Cooling (Env.) | 0.2649 | 87.7485 | 73.9168 | 1347.727 | 0.10099 | 0.099785 | 0.098059 | 0.095913 | 0.093326 | 0.090688 | 0.088141 | 0.085657 | 0.083149 | 0.080629 | 0.078185 | 0.075902 | 0.073648 | 0.071341 | 0.069166 | 0.067025 | 0.064937 | 0.062931 | 0.061006 | 0.059198 | 0.057317 | 0.055358 | 0.05351 | 0.051741 | 0.05 | 0.048244
Best Com. Air Sealing (Exist) | Baseline competed | Northwest, Great Basin, California, Rocky Mountains, Upper Midwest, Lower Midwest, Lakes/Mid-Atl., Texas, Southwest, Southeast, Northeast | Commercial (New), Commercial (Existing) | Heating (Env.), Cooling (Env.) | 0.2649 | 87.7485 | 73.9168 | 1347.727 | 37.873 | 37.4195 | 36.7721 | 35.9674 | 34.9972 | 34.008 | 33.0527 | 32.1213 | 31.1809 | 30.2358 | 29.3195 | 28.4632 | 27.6181 | 26.753 | 25.9372 | 25.1345 | 24.3512 | 23.599 | 22.8772 | 22.1993 | 21.4938 | 20.7592 | 20.0662 | 19.4027 | 18.7499 | 18.0916
Best Com. Air Sealing (Exist) | Efficient competed | Northwest, Great Basin, California, Rocky Mountains, Upper Midwest, Lower Midwest, Lakes/Mid-Atl., Texas, Southwest, Southeast, Northeast | Commercial (New), Commercial (Existing) | Heating (Env.), Cooling (Env.) | 0.2649 | 87.7485 | 73.9168 | 1347.727 | 0.101 | 0.099785 | 0.098059 | 0.095913 | 0.093326 | 0.090688 | 0.088141 | 0.085657 | 0.083149 | 0.080629 | 0.078185 | 0.075902 | 0.073648 | 0.071341 | 0.069166 | 0.067025 | 0.064937 | 0.062931 | 0.061006 | 0.059198 | 0.057317 | 0.055358 | 0.05351 | 0.051741 | 0.05 | 0.048244
Best Com. Air Sealing (New) | Baseline uncompeted | Northwest, Great Basin, California, Rocky Mountains, Upper Midwest, Lower Midwest, Lakes/Mid-Atl., Texas, Southwest, Southeast, Northeast | Commercial (New), Commercial (Existing) | Heating (Env.), Cooling (Env.) | 20.5893 | 4.8569 | 4.0837 | 74.9998 | 0.82029 | 1.6073 | 2.3649 | 3.1379 | 3.9162 | 4.6972 | 5.4747 | 6.2216 | 6.915 | 7.5549 | 8.1498 | 8.7138 | 9.2408 | 9.7208 | 10.1809 | 10.6128 | 11.0238 | 11.4237 | 11.8171 | 12.2175 | 12.5856 | 12.9167 | 13.2569 | 13.5993 | 13.934 | 14.2461
Best Com. Air Sealing (New) | Efficient uncompeted | Northwest, Great Basin, California, Rocky Mountains, Upper Midwest, Lower Midwest, Lakes/Mid-Atl., Texas, Southwest, Southeast, Northeast | Commercial (New), Commercial (Existing) | Heating (Env.), Cooling (Env.) | 20.5893 | 4.8569 | 4.0837 | 74.9998 | 0.013672 | 0.026788 | 0.039415 | 0.052298 | 0.065269 | 0.078287 | 0.091245 | 0.10369 | 0.11525 | 0.12592 | 0.13583 | 0.14523 | 0.15401 | 0.16201 | 0.16968 | 0.17688 | 0.18373 | 0.1904 | 0.19695 | 0.20362 | 0.20976 | 0.21528 | 0.22095 | 0.22666 | 0.23223 | 0.23743
Best Com. Air Sealing (New) | Baseline competed | Northwest, Great Basin, California, Rocky Mountains, Upper Midwest, Lower Midwest, Lakes/Mid-Atl., Texas, Southwest, Southeast, Northeast | Commercial (New), Commercial (Existing) | Heating (Env.), Cooling (Env.) | 20.5893 | 4.8569 | 4.0837 | 74.9998 | 0.82029 | 1.6073 | 2.3649 | 3.1379 | 3.9162 | 4.6972 | 5.4747 | 6.2216 | 6.915 | 7.5549 | 8.1498 | 8.7138 | 9.2408 | 9.7208 | 10.1809 | 10.6128 | 11.0238 | 11.4237 | 11.8171 | 12.2175 | 12.5856 | 12.9167 | 13.2569 | 13.5993 | 13.934 | 14.2461
Best Com. Air Sealing (New) | Efficient competed | Northwest, Great Basin, California, Rocky Mountains, Upper Midwest, Lower Midwest, Lakes/Mid-Atl., Texas, Southwest, Southeast, Northeast | Commercial (New), Commercial (Existing) | Heating (Env.), Cooling (Env.) | 20.5893 | 4.8569 | 4.0837 | 74.9998 | 0.013672 | 0.026788 | 0.039415 | 0.052298 | 0.065269 | 0.078287 | 0.091245 | 0.10369 | 0.11525 | 0.12591 | 0.13583 | 0.14523 | 0.15401 | 0.16201 | 0.16968 | 0.17688 | 0.18373 | 0.1904 | 0.19695 | 0.20363 | 0.20976 | 0.21528 | 0.22095 | 0.22665 | 0.23223 | 0.23744
Res. Air Sealing (New), IECC c. 2021 | Baseline uncompeted | Northwest, Great Basin, California, Rocky Mountains, Upper Midwest, Lower Midwest, Lakes/Mid-Atl., Texas, Southwest, Southeast, Northeast | Residential (New), Residential (Existing) | Heating (Env.), Cooling (Env.) | 999 | 0 | 999 | 999 | 1.3454 | 2.5406 | 3.5984 | 4.5754 | 5.4949 | 6.3513 | 7.1738 | 7.976 | 8.7877 | 9.5153 | 10.2463 | 10.951 | 11.5978 | 12.2381 | 12.8769 | 13.4996 | 14.1482 | 14.7655 | 15.347 | 15.8562 | 16.4124 | 16.9153 | 17.4189 | 17.9035 | 18.3932 | 18.8511
Res. Air Sealing (New), IECC c. 2021 | Efficient uncompeted | Northwest, Great Basin, California, Rocky Mountains, Upper Midwest, Lower Midwest, Lakes/Mid-Atl., Texas, Southwest, Southeast, Northeast | Residential (New), Residential (Existing) | Heating (Env.), Cooling (Env.) | 999 | 0 | 999 | 999 | 2.1683 | 4.1007 | 5.8158 | 7.3998 | 8.8867 | 10.276 | 11.6121 | 12.9188 | 14.2315 | 15.4041 | 16.5811 | 17.7208 | 18.7787 | 19.8122 | 20.8396 | 21.8428 | 22.884 | 23.8788 | 24.8177 | 25.6457 | 26.5357 | 27.3387 | 28.143 | 28.9203 | 29.7072 | 30.4371
Res. Air Sealing (New), IECC c. 2021 | Baseline competed | Northwest, Great Basin, California, Rocky Mountains, Upper Midwest, Lower Midwest, Lakes/Mid-Atl., Texas, Southwest, Southeast, Northeast | Residential (New), Residential (Existing) | Heating (Env.), Cooling (Env.) | 999 | 0 | 999 | 999 | 1.3454 | 2.5406 | 3.5984 | 4.5754 | 5.4949 | 6.3513 | 7.1738 | 7.976 | 8.7877 | 9.5153 | 10.2463 | 10.951 | 11.5978 | 12.2381 | 12.8769 | 13.4996 | 14.1482 | 14.7655 | 15.347 | 15.8561 | 16.4124 | 16.9153 | 17.4189 | 17.9035 | 18.3932 | 18.8511
Res. Air Sealing (New), IECC c. 2021 | Efficient competed | Northwest, Great Basin, California, Rocky Mountains, Upper Midwest, Lower Midwest, Lakes/Mid-Atl., Texas, Southwest, Southeast, Northeast | Residential (New), Residential (Existing) | Heating (Env.), Cooling (Env.) | 999 | 0 | 999 | 999 | 2.1683 | 4.1007 | 5.8158 | 7.3998 | 8.8867 | 10.276 | 11.6121 | 12.9188 | 14.2315 | 15.4041 | 16.5811 | 17.7208 | 18.7787 | 19.8122 | 20.8396 | 21.8428 | 22.884 | 23.8788 | 24.8177 | 25.6457 | 26.5357 | 27.3387 | 28.143 | 28.9203 | 29.7072 | 30.4371

## Total Cost
ECM Name | Results Scenario | Climate Zones | Building Classes | End Uses | IRR (%),2050 | Payback (years),2050 | CCE ($/MMBtu saved),2050 | CCC ($/tCO2 avoided),2050 | 2025 (Billion $) | 2026 (Billion $) | 2027 (Billion $) | 2028 (Billion $) | 2029 (Billion $) | 2030 (Billion $) | 2031 (Billion $) | 2032 (Billion $) | 2033 (Billion $) | 2034 (Billion $) | 2035 (Billion $) | 2036 (Billion $) | 2037 (Billion $) | 2038 (Billion $) | 2039 (Billion $) | 2040 (Billion $) | 2041 (Billion $) | 2042 (Billion $) | 2043 (Billion $) | 2044 (Billion $) | 2045 (Billion $) | 2046 (Billion $) | 2047 (Billion $) | 2048 (Billion $) | 2049 (Billion $) | 2050 (Billion $)
All ECMs | Baseline competed | [7 empty] | 8.1161 | 8.2284 | 8.3894 | 8.6016 | 8.9618 | 9.2849 | 9.644 | 9.9772 | 10.3629 | 10.6935 | 10.9908 | 11.2504 | 11.5321 | 11.8448 | 12.0468 | 12.3203 | 12.5984 | 12.8006 | 12.9756 | 13.1175 | 13.3291 | 13.6715 | 13.7921 | 13.9136 | 14.0592 | 14.1876
All ECMs | Efficient competed | [7 empty] | 0.71892 | 1.3504 | 1.9411 | 2.5098 | 3.0862 | 3.6464 | 4.1973 | 4.7325 | 5.3048 | 5.8386 | 6.3356 | 6.8287 | 7.3274 | 7.8424 | 8.3001 | 8.7934 | 9.2835 | 9.7293 | 10.1466 | 10.5425 | 10.9634 | 11.4466 | 11.8172 | 12.1778 | 12.5341 | 12.8508
All ECMs | Baseline competed - efficient competed | All | All | All |  |  |  |  | 7.3972 | 6.878 | 6.4484 | 6.0918 | 5.8757 | 5.6386 | 5.4467 | 5.2448 | 5.0582 | 4.8549 | 4.6552 | 4.4217 | 4.2047 | 4.0024 | 3.7468 | 3.5269 | 3.3149 | 3.0714 | 2.829 | 2.575 | 2.3658 | 2.2249 | 1.9749 | 1.7358 | 1.5251 | 1.3367
All ECMs | Baseline competed - efficient competed | Northwest | All | All |  |  |  |  | 0.20279 | 0.18407 | 0.16917 | 0.15667 | 0.14637 | 0.13603 | 0.12726 | 0.11841 | 0.11043 | 0.10201 | 0.093632 | 0.084825 | 0.076826 | 0.069521 | 0.060543 | 0.052699 | 0.045183 | 0.037189 | 0.029124 | 0.02104 | 0.014138 | 0.0061759 | -0.0030914 | -0.010966 | -0.017132 | -0.022781
All ECMs | Baseline competed - efficient competed | Great Basin | All | All |  |  |  |  | 0.11515 | 0.10525 | 0.097374 | 0.090713 | 0.085186 | 0.079215 | 0.07405 | 0.068521 | 0.063321 | 0.057672 | 0.051856 | 0.045564 | 0.039527 | 0.033587 | 0.026419 | 0.020147 | 0.013878 | 0.0072923 | 0.00059389 | -0.0061622 | -0.012279 | -0.018117 | -0.025405 | -0.032527 | -0.039365 | -0.045799
All ECMs | Baseline competed - efficient competed | California | All | All |  |  |  |  | 0.49749 | 0.47371 | 0.45507 | 0.44005 | 0.42987 | 0.42152 | 0.41524 | 0.40859 | 0.40368 | 0.39681 | 0.39014 | 0.3812 | 0.3733 | 0.36671 | 0.35578 | 0.34761 | 0.34125 | 0.33328 | 0.32563 | 0.31754 | 0.31114 | 0.30187 | 0.28898 | 0.27966 | 0.27255 | 0.26622
All ECMs | Baseline competed - efficient competed | Rocky Mountains | All | All |  |  |  |  | 0.087779 | 0.078868 | 0.071586 | 0.065041 | 0.059465 | 0.053631 | 0.04835 | 0.042909 | 0.037689 | 0.032318 | 0.026941 | 0.021316 | 0.016043 | 0.010808 | 0.0052276 | -0.00039507 | -0.0060147 | -0.011727 | -0.017292 | -0.02289 | -0.028229 | -0.033765 | -0.039199 | -0.044697 | -0.049954 | -0.055014
All ECMs | Baseline competed - efficient competed | Upper Midwest | All | All |  |  |  |  | 0.85105 | 0.7969 | 0.75399 | 0.72004 | 0.69771 | 0.67195 | 0.65147 | 0.62952 | 0.6109 | 0.58978 | 0.56808 | 0.54336 | 0.52114 | 0.50097 | 0.47451 | 0.45244 | 0.42948 | 0.40326 | 0.37654 | 0.34892 | 0.32698 | 0.31255 | 0.28591 | 0.26015 | 0.23779 | 0.21754
All ECMs | Baseline competed - efficient competed | Lower Midwest | All | All |  |  |  |  | 0.30296 | 0.27691 | 0.25565 | 0.23735 | 0.22244 | 0.20695 | 0.1938 | 0.18007 | 0.16737 | 0.15406 | 0.14097 | 0.12568 | 0.1116 | 0.098878 | 0.083087 | 0.066238 | 0.049 | 0.033219 | 0.018373 | 0.0027508 | -0.01112 | -0.022302 | -0.038346 | -0.054036 | -0.067461 | -0.080061
All ECMs | Baseline competed - efficient competed | Lakes/Mid-Atl. | All | All |  |  |  |  | 2.0675 | 1.9425 | 1.8412 | 1.7606 | 1.7139 | 1.6611 | 1.6208 | 1.5772 | 1.5411 | 1.499 | 1.4553 | 1.4028 | 1.3555 | 1.3132 | 1.2532 | 1.2049 | 1.1579 | 1.1013 | 1.0443 | 0.98536 | 0.93852 | 0.91186 | 0.85527 | 0.80032 | 0.75271 | 0.70844
All ECMs | Baseline competed - efficient competed | Texas | All | All |  |  |  |  | 0.3961 | 0.3655 | 0.34147 | 0.32247 | 0.30747 | 0.28954 | 0.27512 | 0.26263 | 0.24741 | 0.23123 | 0.21572 | 0.1989 | 0.18477 | 0.17173 | 0.15418 | 0.13857 | 0.12254 | 0.10245 | 0.081551 | 0.061578 | 0.04726 | 0.040816 | 0.023112 | 0.004484 | -0.013657 | -0.021377
All ECMs | Baseline competed - efficient competed | Southwest | All | All |  |  |  |  | 0.057623 | 0.051486 | 0.046507 | 0.042374 | 0.039018 | 0.03488 | 0.031047 | 0.026951 | 0.022685 | 0.018603 | 0.014609 | 0.0099575 | 0.004747 | -0.00048264 | -0.0061839 | -0.011274 | -0.017456 | -0.023909 | -0.029256 | -0.035497 | -0.041399 | -0.046773 | -0.052987 | -0.059025 | -0.065253 | -0.071014
All ECMs | Baseline competed - efficient competed | Southeast | All | All |  |  |  |  | 1.23 | 1.121 | 1.0303 | 0.95394 | 0.90208 | 0.84807 | 0.80193 | 0.754 | 0.70632 | 0.65783 | 0.61301 | 0.55888 | 0.50474 | 0.45343 | 0.39549 | 0.34643 | 0.3013 | 0.24983 | 0.19682 | 0.13883 | 0.089232 | 0.056114 | 0.00053361 | -0.052772 | -0.1011 | -0.14413
All ECMs | Baseline competed - efficient competed | Northeast | All | All |  |  |  |  | 1.5888 | 1.4818 | 1.386 | 1.3026 | 1.2722 | 1.2357 | 1.2077 | 1.1759 | 1.1473 | 1.1155 | 1.085 | 1.0493 | 1.0165 | 0.98407 | 0.94451 | 0.90958 | 0.87785 | 0.83918 | 0.80261 | 0.76351 | 0.73151 | 0.71645 | 0.6801 | 0.64518 | 0.61594 | 0.58472
All ECMs | Baseline competed - efficient competed | All | Residential (New) | All |  |  |  |  | -0.26316 | -0.50118 | -0.72349 | -0.93748 | -1.1541 | -1.3635 | -1.5697 | -1.7707 | -1.9838 | -2.1826 | -2.3677 | -2.5512 | -2.7365 | -2.9275 | -3.0974 | -3.2805 | -3.462 | -3.626 | -3.7788 | -3.9237 | -4.0786 | -4.2588 | -4.3946 | -4.5262 | -4.6554 | -4.7728
All ECMs | Baseline competed - efficient competed | All | Residential (Existing) | All |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
All ECMs | Baseline competed - efficient competed | All | Commercial (New) | All |  |  |  |  | 0.16017 | 0.3 | 0.42821 | 0.55784 | 0.70006 | 0.84121 | 0.9873 | 1.1276 | 1.2665 | 1.3945 | 1.5145 | 1.6209 | 1.7262 | 1.8326 | 1.9148 | 2.0064 | 2.0971 | 2.1699 | 2.2362 | 2.2926 | 2.3657 | 2.4724 | 2.5198 | 2.5667 | 2.6214 | 2.6783
All ECMs | Baseline competed - efficient competed | All | Commercial (Existing) | All |  |  |  |  | 7.5002 | 7.0792 | 6.7437 | 6.4714 | 6.3297 | 6.1608 | 6.0291 | 5.8879 | 5.7755 | 5.643 | 5.5084 | 5.352 | 5.2149 | 5.0974 | 4.9294 | 4.801 | 4.6798 | 4.5275 | 4.3717 | 4.2061 | 4.0787 | 4.0113 | 3.8497 | 3.6953 | 3.5591 | 3.4312
All ECMs | Baseline competed - efficient competed | All | All | Heating (Equip.) |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
All ECMs | Baseline competed - efficient competed | All | All | Cooling (Equip.) |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
All ECMs | Baseline competed - efficient competed | All | All | Heating (Env.) |  |  |  |  | 8.433 | 7.9333 | 7.5278 | 7.1973 | 7.0163 | 6.8216 | 6.6734 | 6.5138 | 6.3856 | 6.2348 | 6.0755 | 5.8902 | 5.7253 | 5.5818 | 5.3777 | 5.2106 | 5.0515 | 4.8577 | 4.6647 | 4.4605 | 4.3028 | 4.2092 | 4.0047 | 3.8173 | 3.6529 | 3.5027
All ECMs | Baseline competed - efficient competed | All | All | Cooling (Env.) |  |  |  |  | -1.0358 | -1.0553 | -1.0794 | -1.1055 | -1.1406 | -1.183 | -1.2267 | -1.269 | -1.3274 | -1.3799 | -1.4203 | -1.4684 | -1.5206 | -1.5794 | -1.631 | -1.6837 | -1.7366 | -1.7863 | -1.8357 | -1.8855 | -1.9371 | -1.9843 | -2.0298 | -2.0816 | -2.1278 | -2.166
All ECMs | Baseline competed - efficient competed | All | All | Ventilation |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
All ECMs | Baseline competed - efficient competed | All | All | Lighting |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
All ECMs | Baseline competed - efficient competed | All | All | Water Heating |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
All ECMs | Baseline competed - efficient competed | All | All | Refrigeration |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
All ECMs | Baseline competed - efficient competed | All | All | Cooking |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
All ECMs | Baseline competed - efficient competed | All | All | Computers and Electronics |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
All ECMs | Baseline competed - efficient competed | All | All | Other |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Best Com. Air Sealing (Exist) | Baseline uncompeted | Northwest, Great Basin, California, Rocky Mountains, Upper Midwest, Lower Midwest, Lakes/Mid-Atl., Texas, Southwest, Southeast, Northeast | Commercial (New), Commercial (Existing) | Heating (Env.), Cooling (Env.) | 0.2649 | 87.7485 | 73.9168 | 1347.727 | 7.5202 | 7.0981 | 6.7617 | 6.4887 | 6.3466 | 6.1773 | 6.0452 | 5.9036 | 5.7909 | 5.6581 | 5.5231 | 5.3663 | 5.2288 | 5.111 | 4.9426 | 4.8139 | 4.6923 | 4.5396 | 4.3834 | 4.2174 | 4.0896 | 4.022 | 3.86 | 3.7051 | 3.5686 | 3.4404
Best Com. Air Sealing (Exist) | Efficient uncompeted | Northwest, Great Basin, California, Rocky Mountains, Upper Midwest, Lower Midwest, Lakes/Mid-Atl., Texas, Southwest, Southeast, Northeast | Commercial (New), Commercial (Existing) | Heating (Env.), Cooling (Env.) | 0.2649 | 87.7485 | 73.9168 | 1347.727 | 0.020054 | 0.018928 | 0.018031 | 0.017303 | 0.016924 | 0.016473 | 0.016121 | 0.015743 | 0.015442 | 0.015088 | 0.014728 | 0.01431 | 0.013944 | 0.013629 | 0.01318 | 0.012837 | 0.012513 | 0.012106 | 0.011689 | 0.011246 | 0.010906 | 0.010725 | 0.010293 | 0.0098804 | 0.0095163 | 0.0091744
Best Com. Air Sealing (Exist) | Baseline competed | Northwest, Great Basin, California, Rocky Mountains, Upper Midwest, Lower Midwest, Lakes/Mid-Atl., Texas, Southwest, Southeast, Northeast | Commercial (New), Commercial (Existing) | Heating (Env.), Cooling (Env.) | 0.2649 | 87.7485 | 73.9168 | 1347.727 | 7.5202 | 7.0981 | 6.7617 | 6.4887 | 6.3466 | 6.1773 | 6.0452 | 5.9036 | 5.7909 | 5.6581 | 5.5231 | 5.3663 | 5.2288 | 5.111 | 4.9426 | 4.8139 | 4.6923 | 4.5396 | 4.3834 | 4.2174 | 4.0896 | 4.022 | 3.86 | 3.7051 | 3.5686 | 3.4404
Best Com. Air Sealing (Exist) | Efficient competed | Northwest, Great Basin, California, Rocky Mountains, Upper Midwest, Lower Midwest, Lakes/Mid-Atl., Texas, Southwest, Southeast, Northeast | Commercial (New), Commercial (Existing) | Heating (Env.), Cooling (Env.) | 0.2649 | 87.7485 | 73.9168 | 1347.727 | 0.020054 | 0.018928 | 0.018031 | 0.017303 | 0.016924 | 0.016473 | 0.016121 | 0.015743 | 0.015442 | 0.015088 | 0.014728 | 0.01431 | 0.013944 | 0.013629 | 0.01318 | 0.012837 | 0.012513 | 0.012106 | 0.011689 | 0.011246 | 0.010906 | 0.010725 | 0.010293 | 0.0098804 | 0.0095163 | 0.0091744
Best Com. Air Sealing (New) | Baseline uncompeted | Northwest, Great Basin, California, Rocky Mountains, Upper Midwest, Lower Midwest, Lakes/Mid-Atl., Texas, Southwest, Southeast, Northeast | Commercial (New), Commercial (Existing) | Heating (Env.), Cooling (Env.) | 20.5893 | 4.8569 | 4.0837 | 74.9998 | 0.16289 | 0.30508 | 0.43546 | 0.5673 | 0.71192 | 0.85547 | 1.004 | 1.1467 | 1.288 | 1.4181 | 1.5401 | 1.6484 | 1.7555 | 1.8636 | 1.9472 | 2.0404 | 2.1326 | 2.2067 | 2.2741 | 2.3314 | 2.4058 | 2.5143 | 2.5625 | 2.6102 | 2.6658 | 2.7237
Best Com. Air Sealing (New) | Efficient uncompeted | Northwest, Great Basin, California, Rocky Mountains, Upper Midwest, Lower Midwest, Lakes/Mid-Atl., Texas, Southwest, Southeast, Northeast | Commercial (New), Commercial (Existing) | Heating (Env.), Cooling (Env.) | 20.5893 | 4.8569 | 4.0837 | 74.9998 | 0.0027148 | 0.0050847 | 0.0072577 | 0.009455 | 0.011865 | 0.014258 | 0.016734 | 0.019111 | 0.021467 | 0.023635 | 0.025669 | 0.027473 | 0.029258 | 0.031061 | 0.032453 | 0.034007 | 0.035544 | 0.036778 | 0.037902 | 0.038857 | 0.040096 | 0.041905 | 0.042708 | 0.043503 | 0.044431 | 0.045395
Best Com. Air Sealing (New) | Baseline competed | Northwest, Great Basin, California, Rocky Mountains, Upper Midwest, Lower Midwest, Lakes/Mid-Atl., Texas, Southwest, Southeast, Northeast | Commercial (New), Commercial (Existing) | Heating (Env.), Cooling (Env.) | 20.5893 | 4.8569 | 4.0837 | 74.9998 | 0.16289 | 0.30508 | 0.43546 | 0.5673 | 0.71192 | 0.85547 | 1.004 | 1.1467 | 1.288 | 1.4181 | 1.5401 | 1.6484 | 1.7555 | 1.8636 | 1.9472 | 2.0404 | 2.1326 | 2.2067 | 2.2741 | 2.3314 | 2.4058 | 2.5143 | 2.5625 | 2.6102 | 2.6658 | 2.7237
Best Com. Air Sealing (New) | Efficient competed | Northwest, Great Basin, California, Rocky Mountains, Upper Midwest, Lower Midwest, Lakes/Mid-Atl., Texas, Southwest, Southeast, Northeast | Commercial (New), Commercial (Existing) | Heating (Env.), Cooling (Env.) | 20.5893 | 4.8569 | 4.0837 | 74.9998 | 0.0027148 | 0.0050847 | 0.0072577 | 0.009455 | 0.011865 | 0.014258 | 0.016734 | 0.019111 | 0.021467 | 0.023635 | 0.025669 | 0.027473 | 0.029258 | 0.031061 | 0.032453 | 0.034007 | 0.035544 | 0.036778 | 0.037902 | 0.038857 | 0.040096 | 0.041905 | 0.042708 | 0.043503 | 0.044431 | 0.045395
Res. Air Sealing (New), IECC c. 2021 | Baseline uncompeted | Northwest, Great Basin, California, Rocky Mountains, Upper Midwest, Lower Midwest, Lakes/Mid-Atl., Texas, Southwest, Southeast, Northeast | Residential (New), Residential (Existing) | Heating (Env.), Cooling (Env.) | 999 | 0 | 999 | 999 | 0.43299 | 0.82522 | 1.1923 | 1.5455 | 1.9033 | 2.2522 | 2.5948 | 2.9269 | 3.284 | 3.6173 | 3.9275 | 4.2357 | 4.5477 | 4.8702 | 5.157 | 5.4661 | 5.7735 | 6.0544 | 6.3182 | 6.5687 | 6.8337 | 7.1352 | 7.3696 | 7.5983 | 7.8248 | 8.0235
Res. Air Sealing (New), IECC c. 2021 | Efficient uncompeted | Northwest, Great Basin, California, Rocky Mountains, Upper Midwest, Lower Midwest, Lakes/Mid-Atl., Texas, Southwest, Southeast, Northeast | Residential (New), Residential (Existing) | Heating (Env.), Cooling (Env.) | 999 | 0 | 999 | 999 | 0.69615 | 1.3264 | 1.9158 | 2.483 | 3.0574 | 3.6156 | 4.1644 | 4.6976 | 5.2678 | 5.7999 | 6.2952 | 6.7869 | 7.2842 | 7.7977 | 8.2544 | 8.7466 | 9.2354 | 9.6804 | 10.097 | 10.4924 | 10.9124 | 11.394 | 11.7642 | 12.1245 | 12.4802 | 12.7963
Res. Air Sealing (New), IECC c. 2021 | Baseline competed | Northwest, Great Basin, California, Rocky Mountains, Upper Midwest, Lower Midwest, Lakes/Mid-Atl., Texas, Southwest, Southeast, Northeast | Residential (New), Residential (Existing) | Heating (Env.), Cooling (Env.) | 999 | 0 | 999 | 999 | 0.43299 | 0.82522 | 1.1923 | 1.5455 | 1.9033 | 2.2522 | 2.5948 | 2.9269 | 3.284 | 3.6173 | 3.9275 | 4.2357 | 4.5477 | 4.8702 | 5.157 | 5.4661 | 5.7735 | 6.0544 | 6.3182 | 6.5687 | 6.8337 | 7.1352 | 7.3696 | 7.5983 | 7.8248 | 8.0235
Res. Air Sealing (New), IECC c. 2021 | Efficient competed | Northwest, Great Basin, California, Rocky Mountains, Upper Midwest, Lower Midwest, Lakes/Mid-Atl., Texas, Southwest, Southeast, Northeast | Residential (New), Residential (Existing) | Heating (Env.), Cooling (Env.) | 999 | 0 | 999 | 999 | 0.69615 | 1.3264 | 1.9158 | 2.483 | 3.0574 | 3.6156 | 4.1644 | 4.6976 | 5.2678 | 5.7999 | 6.2952 | 6.7869 | 7.2842 | 7.7977 | 8.2544 | 8.7466 | 9.2354 | 9.6804 | 10.097 | 10.4924 | 10.9124 | 11.394 | 11.7642 | 12.1245 | 12.4802 | 12.7963